## Slide 1: NRC Emergency Preparedness for SMRs and ONTs
Emergency Preparedness Specialist
Eric Schrader
May 14, 2025

## Slide 2: Major Provisions of 10 CFR 50.160 EP Regulations
This framework provides small modular reactors (SMR) and other new technologies (ONT):
  regulatory framework proportional to facility risk profile
  technology inclusive, performance based
  scalable EPZ according to spectrum of accident risk
  hazard analysis for contiguous facilities
  ingestion planning capabilities

## Slide 3: Still a Graded Approach to EP
Still risk-informed however the process balances the regulatory burden with the facility risk
Existing NRC regulations that use a similar graded approach to EP include:
  Power reactors
  low-power testing and decommissioning
  Research and test reactors
  Fuel Fabrication Facilities
  Independent Spent Fuel Storage Installations
  Monitored Retrievable Storage

## Slide 4: Emergency Response Functions
Event classification and mitigation
Protective actions
Communications
Command and control
Staffing and operations
Radiological assessment
Re-entry
Critiques and corrective actions
Recommend protective actions to offsite authorities as conditions warrant.

## Slide 5: Planning Activities Ensure Readiness
Prepare and issue public information during emergencies
Implement the emergency plan in conjunction with safeguards contingency plan
Voice and data communications with the NRC
Emergency response facilities where effective direction and control can be exercised
Site familiarization training for offsite support
Maintain the emergency plan

## Slide 6: Additional Planning Activities for EPZ > Site Boundary
  Protective actions within the EPZ
  Contacts and arrangements
  Evacuation time estimate within the EPZ
  Primary and backup offsite response facilities
  Making and communicating dose projections
  Periodic emergency planning information for public
  General re-entry plans after an emergency
  Drill and exercise programs with offsite response

## Slide 7: A Scalable EPZ Supports Planning Needs
The EPZ is a planning tool:
The EPZ determination considers form and function
  The area within which public dose is projected to exceed 10 mSv TEDE over 96 hours considering:
      accident likelihood
      source term
      meteorology
  The area within which predetermined, prompt protective measures are warranted
      timing of the accident sequence

## Slide 8: Hazard Analysis - Adverse Impact of Contiguous Facilities
Address the impact on emergency plan implementation from:
  contiguous or nearby facilities and other credible hazards
  potential impacts of industrial plants, other reactors, transportation systems, or combination of factors
  site-specific, credible hazards from other facilities that may require additional EP considerations

## Slide 9: Ingestion Pathway Planning
Emphasizes capabilities and readiness to respond
Identification of major exposure pathways for ingestion
Identify resources available at all levels of government to sample, assess, and implement a quarantine or embargo of food and water to prevent ingestion

## Slide 10: Emergency Preparedness is and Always Will Be
to assure protective actions can and will be taken
to provide a dose savings
risk-informed
an independent layer of defense in depth

## Slide 11: So… What’s Different?
Regulations define the required outcomes
Applicant describes and justifies methods to meet regulations
Allows an applicant to determine the best method for them to meet the regulations
Size of the EPZ is based on risk of individual facility

## Slide 12: Pre-Application Engagement = Max Success
Early Issue Identification
Improved Licensing Strategy
Identify and address potential regulatory challenges before formal submission. Clarify applicable regulations, guidance, and licensing pathways.
Align licensing approach with NRC regulations. Establish appropriate scope and level of detail needed in the application.
Efficient Resource Use
Reduce likelihood of significant rework or delays. Optimize technical and financial resources by focusing on key regulatory concerns early.

## Slide 13: Engaging with Applicants and Vendors
License Review in Progress
Construction Permit Application Issued
Ongoing Preapplication Activities/Potential Applications
Fuel Fabrication Review

## Slide 14: Thank You