## Slide 1: IMBA Intermediate Training
Charlotte Rose
Research Scientist
Corvallis OR
charlotte.rose@rcdsoftware.com

## Slide 2: OUTLINE
Bioassay Calculations
  Predictions based on hypothetical intake
    Intake -> Bioassay
    Tritium Occupational Exposure
    Cesium Contaminated milk in population
  Estimations from Bioassay Data
    Bioassay -> Intake
    125I Inhalation
    60Co Unknown Route
    Historical Continuous Uranium Inhalation
B. Questions

## Slide 3: BIOASSAY PREDICTIONS

## Slide 4: Bioassay Predictions
Based on predicted exposure, will provide the user with an estimate of bioassay results for any of the bioassay types.
Single Intake or multiple intakes/continuous intake
Single or multiple bioassay measurements

## Slide 6: Example 1
First, recall finding an EDE with the dose calculator in IMBA

## Slide 7: Examples for organic & inorganic tritium
Committed effective dose calculation

## Slide 8: Organically bound
Committed effective doses from tritium ingestion
Tritiated water
Result for unit activity intake
Result for unit activity intake

## Slide 9: Tritium (water) Ingestion
EDE for tritiated water
  Regulatory limit of 0.05 Sv/year (USNRC and CNSC)
  ALI is 3 GBq

## Slide 10: Tritiated water limits
10 CFR Part 20
Tritium ingestion ALI
0.08 Ci  3 GBq
Annual limits on intake
Same ALI for inhalation

## Slide 11: What bioassay results indicate that worker exposure and intakes must be reduced to avoid exceeding the regulatory limit?
Hypothetical worker exposure to tritiated water
Example Problem 1
Continuous occupational intake possible
Work tasking anticipated for 300 days
Bioassay planned: Urine collection & tritium activity measurements

## Slide 13: IMBA invites user to accept ICRP modeling

## Slide 14: Example IMBA bioassay results
Assumed maximum continuous intake yields 1 ALI during entire work task
IMBA calculates maximum tritium activities in urine at different bioassay times (right)
IMBA provides basis for operational restrictions or corrective actions before regulatory limit is exceeded
Chart: Hypothetical Continuous Tritium Intake at 10 MBq/d for 300-day Work Task
| 7 | 15 | 22 | 30 | 45 | 60 | 90 | 150 | 225 | 300
Activity in 24-hour urine collection | 1.2963 | 2.5301 | 3.3143 | 3.9919 | 4.88 | 5.4798 | 6.2338 | 6.9172 | 7.1845 | 7.2566
Notes: 10 GBq/d over 300 days is 3 MBq, which is the approximate regularoty limit for a year.

## Slide 15
Using Bioassay Predictions to find Dose

## Slide 16: Cesium Ingestion in Milk
Consider a contamination event where Cs deposition resulted in contaminated feed. What would be the bioassay results, and the estimated doses to the public?
Chronic vs Acute
  (living vs visiting)
300 pCi/L in milk
Assuming 1 L consumed per day (conservative for drinking, cheese, butter, etc)
Assume single Celebration/Visit ingestion of 0.03 μCi

## Slide 19
Select Radionuclide
Select chronic intake of 1 year
Ingestion Route
Intake regime 1 is 30 pCi/d
ICRP Defaults

## Slide 21
Notes: Notice the collection period is one half day

## Slide 22
Notes: Annual limit on intake for public is 1 mSv per year. How much in each scenario would be the maximum amount of intake per year, and what would a urinalysis show?